**Welcome to the Touchscreen-based Behavioral Evaluation System (TBES)**

**Program Info:**

**Q: What’s new for TBES 2.0?**

**A: Five things:**

**1)** We added the ability to upload your own images to the “c:\TBESVB6Acc\Images\In Use” folder.

**2)** We also added a treasure chest that will be displayed at the location of a correct choice. This is ideal for demonstrating procedures with human participants. Just give them the iPad and let them go.

**3)** We also added the ability to resize the grid. You can set the column and row sizes in the “c:\TBESVB6Acc\Parameters” folder. Change the “Number of Rows” and “Number of Columns” values by creating a new file or modifying an existing subject’s file (e.g., “Testoffice”). You can view your grid on the program during start up by clicking “Show grid”. We also added the ability to define a goal location for each procedure. During the Autoshaping and Successive Discrimination procedures, the stimulus will be displayed at the goal. For the Simultaneous Discrimination procedure, one stimulus will be display at the goal and the other to the right or left of the goal (determined randomly across trials). You can also enter a “0” in the parameters folder to have the program choose the goal location randomly (limited by the array size and other factors). The program will use the number of Trial Types you specify in the parameters file to divide up the stimuli in the images folder (be sure to only keep stimuli you are using for that procedure in the images folder and see specific procedures below for S+/S- assignment).

**4)** We also added a keep alive signal to catch a broken connection between the iPad and server.

**5)** You can now build your own session by creating the subject file (using the format subject.sessionnumber [e.g., Bob.1] in “c:\TBESVB6Acc\Results” and then select “Load” from the server program start up.

**Q: Where are the data from the session stored?**

**A:** Data from each session are stored in two places, both within the “c:\TBESVB6Acc\Results” folder. One file provides summary info collapsed across the entire session (Results\_Summary.xls), whereas, the other contains response data for each trial in a session.

**Q: How do I add subject names to the drop-down menu at start up?**

**A:**

1. Open the “CurrentSchedule.txt” file in “c:\TBESVB6Acc”. The program will automatically populate the subject drop-down menu with these names. List one name per line. Alternatively, you can always add a new subject at run-time by clicking the “Enter Subject Name” box.
2. If you add a subject, you need to create a file with that subject’s name in the “Parameters” folder of “c:\TBESVB6Acc”. This will allow you customize the trial, session, and stimulus parameters for each subject. We recommend you copy “Testoffice.xls” to use as a template for the new subject.

**Q: How do I change the trial, session, or stimulus parameters for a subject?**

**A:** Go to the subject’s file in the “Parameters” folder within the “TBESVB6Acc” folder. Adjust the values as needed. These changes can be saved and will be represented at run-time. This allows you customize the trial, session, and stimulus parameters for each subject.

**Q: How do I change the images used during a session?**

**A:** You may add as many stimuli to the “Images” folder as you like. Keep in mind, however, that the program sends all of the images to the App at the start of a session. Consequently, if you add many image files there will be a long delay (seconds to minutes) when the program is started. If you add only a few, very large (e.g., bitmap), image files there will also be a delay. We recommend using .jpg files.

**Q: What are the keys useful for changing conditions during a session?**

A: The following keys will have the described effects at run-time.

**"E" End the session at any time and bring up the save data screen.**

**"F" Freeze stimulus - the stimulus will not timeout after the specified duration.**

**"R" Resume trials - Erases the current stimuli and resumes the trials to session-startup parameters**

**"L" Lengthen the stimulus interval in real-time by 1000 ms**

**"I" Alters the session to count a trial as correct ONLY if a response is made while the stimulus is displayed.**

**"P" Alters the session to count a trial as correct ONLY at the end of the stimulus duration.**

**“B” Alters the session to count a trial as correct BOTH at the end of the stimulus duration and with a response, whichever comes first.**



This program has been tested with Med-Associates equipment and scripts written in Visual Basic 6.0. More information on the App, as well as procedures appropriate for the device can be found in recent publications by Leising, K.J (http://tinyurl.com/KenLeising).



The default VB program assumes an iPad screen that is divided into six **Sections** and each **Section** can display a visual stimulus (this can be change, see above Q&A What’s new”). Sections are tagged by the number in the following manner.

The default Visual Basic program also assumes the following images are located in “c:\TBESVB6Acc\Images\In Use. These have been assigned a unique single-digit numeral from 1 to 7. The program will build a session based on the number of trial types and starting with the first image ("1.bmp"). For successive discrimination, it will increment by 1 so that every odd image is an S+ and even images are S-. For simultaneous discrimination, images will be grabbed in pairs (1 and 2, 3 and 4, etc.) and the first image in each pair will be the S+ and show in the left and right positions equally often. Put only the images you want to use into the "In Use" folder.

The last three images in the "In Use" file are privileged (ready signal) and (response markers) and must always be present. If you have 68 images, then these should be 68 (response markers), 69 (ready signal) and 70 (goal image).



 1 2 3 4 5 6 7





1. The Visual Basic program will place the specified Image on the display.
2. When the section is touched, the App returns the Section tag and the VB program determines whether the image in this section is correct or not.

The script is capable of running the following training programs:

1. **Magazine Training** – A signal to raise a dipper is delivered every 60s and the dipper waits for a signal from an infrared detector to initiate a 3-s access period before lowering the dipper. The waiting feature can be turned off using the subject’s parameter file. *No visual stimuli are presented*.
2. **Autoshaping** – a 5.53 cm grey circle will be displayed in Position 2 for 10 seconds (s) followed by a reward delivery command. A touch to the circle will also issue a reward delivery command. Each reward is followed by ~60 s before the grey circle reappears. There are 30 trials per session. This number of trials, ITI, stimulus duration, and reward duration can be changed using the subject’s parameter file.



1. **Successive discrimination** – from the set of six 5.53 cm images shown above, the images are divided into two categories. In one category (S+), a touch to the image results in reward delivery. Touches to images in the second category (S-), result in a 10-s timeout period with no stimuli. If no response is made to the S-, then the trial times out delivered after 15 s. There is a 20-s ITI between all trials. There are 84 trials per session (14-trials per stimulus). For successive discrimination, the program will search the “c:\TBESVB6Acc\Images\In Use” folder and separate the odd images as S+ and even images as S-.



1. **Simultaneous discrimination** – The same six stimuli are used, however, each S+ is paired with an S- and presented simultaneously on the screen in positions 1 and 3, randomized across trials. Trials end only if a response to the S+ is made. Responses to the S- are recorded but do not result in any observable effects. Each reward is followed by 20 s ITI and then a new trial begins. There are 84-trials per session (28 trials per pair). For simultaneous discrimination, the program will search the “c:\TBESVB6Acc\Images\In Use” folder and images will be grabbed in pairs (1 and 2, 3 and 4, etc.). The first image in each pair will be the S+ and the other the S-. The S+ will be displayed to the left and right of the goal location specified in the “c:\TBESVB6Acc\Parameters folder. For example, if you specific “2” as the goal, the S+ will appear at 1 and 3 equally often.

